# Anatomy-Aware Radial Error Localization and Correction for Automated Muscle Segmentation

## Conceptual Overview

This study proposes an anatomy-aware radial quality assessment framework designed not only to detect segmentation errors but also to classify, localize, and revise muscle segmentation errors in a clinically interpretable manner.

Unlike conventional quality control approaches that generate a single quality score, the proposed framework aims to identify specific error phenotypes, determine their anatomical locations, and perform phenotype-specific correction while preserving normal segmentations.

The overall framework consists of four sequential stages:

- Radial feature extraction

- Error phenotype classification

- Error localization

- Phenotype-specific segmentation revision

The final objective is not merely error detection, but error-guided segmentation correction.

## Radial Feature Extraction

A radial sampling strategy is performed using the centroid of the predicted muscle segmentation mask.

For each angle θ, a radial profile is generated and multiple radial quality assessment (RQA) features are extracted.

### Number of Muscle Segments

The number of disconnected muscle segments intersected by a radial ray is defined as

nYSegments(θ)

where each segment must satisfy

Li ≥ Lmin

where Li is the segment length and Lmin is the minimum segment length threshold.

The number of valid segments is therefore

nYSegments(θ) = Σ I(Li ≥ Lmin)

where I(.) denotes the indicator function.

nYSegments represents a radial topological descriptor.

### Segment Density

Segment density is defined as

SegmentDensity(θ) = ΣLi / BodyRadius(θ)

where

ΣLi = total muscle thickness intersected by the radial ray

BodyRadius(θ) = body boundary distance along the same direction.

Segment density describes tissue occupancy along the radial profile.

### Inner Boundary Residual

The normalized inner boundary radius is calculated as

rInnerN(θ) = rInner(θ) / BodyRadius(θ)

A smoothed radial reference curve is generated

rInnerFit(θ)

The inner residual is then

InnerResidual(θ) =
rInnerN(θ) − rInnerFit(θ)

and converted into pixel units

InnerLeakPx(θ) =
InnerResidual(θ) × BodyRadius(θ)

Large negative values indicate abnormal inward extension of the segmentation contour toward the body centroid.

### Density Gradient

The density gradient is calculated as

DensityGradient(θ) =
| d(DensityFit(θ))/dθ |

High gradient regions indicate abrupt transitions and are used for anomaly localization.

The full-width-at-half-maximum (FWHM) of gradient peaks is used to define candidate error sectors.

## Anatomy-Aware Error Classification

A key observation of this work is that identical radial features may represent different anatomical phenomena at different vertebral levels.

Therefore, level-specific interpretation rules are applied.

### T-Level

At thoracic levels, psoas muscles are absent.

Consequently, structures appearing near the centroid are likely to represent segmentation leakage.

Examples:

Detached Leakage:
nYSegments ≥ 2

Attached Leakage:
nYSegments = 1
Density ↑
InnerLeak ↑

Internal Missing:
Density ↓
InnerMiss ↑

### L1–L4

At lumbar levels, psoas muscles coexist with posterior musculature.

Therefore

nYSegments = 2

may represent normal anatomy.

Posterior anatomical zones are interpreted separately using anatomical priors.

### L5

Pelvic anatomy differs substantially from upper lumbar levels.

Expected topology and muscle distribution are therefore adjusted using L5-specific rules.

## Error Phenotype Classification

The framework classifies segmentation errors into the following categories:

- Normal

- Detached Leakage

- Attached Leakage

- Internal Missing

- Disconnected Missing

- Morphological Change

Morphological changes include severe sarcopenia, myosteatosis, and anatomical variations that do not necessarily represent segmentation failure.

## Error Localization

After classification, anomaly localization is performed.

The localization process uses

- Density gradient peaks

- Inner residual peaks

- Segment density abnormalities

to identify candidate angular sectors.

A candidate sector is represented by

[θstart , θend]

derived from the FWHM of dominant density-gradient peaks.

This region is referred to as the

Radial Revision Sector (RRS).

## Phenotype-Specific Segmentation Revision

Instead of performing global re-segmentation, only the predicted muscle mask located inside the Radial Revision Sector is modified.

Let

Y = predicted segmentation

RRS = radial revision sector

The target region is

TargetRegion = Y ∩ RRS

Different revision strategies are applied according to the classified phenotype.

### Normal

No revision is performed.

Yrev = Y

### Detached Leakage

Isolated components located inside the revision sector are removed.

This operation is referred to as

Total Removal.

### Attached Leakage

Only excessive contour regions are removed while preserving the remaining segmentation.

This operation is referred to as

Partial Removal.

Active contour refinement may be applied inside the revision sector.

### Internal Missing

Only missing regions are recovered.

This operation is referred to as

Selective Filling.

The remaining segmentation is preserved.

### Morphological Change

No automatic correction is performed.

The case is retained for manual review if necessary.

## Evaluation Strategy

The framework is evaluated in three stages.

### Classification Performance

Ground truth phenotype labels are compared with predicted phenotype labels.

Metrics include

- Accuracy

- Precision

- Recall

- F1-score

### Localization Performance

Ground truth error sectors are compared with predicted sectors.

Angular Intersection-over-Union is calculated as

IoUsector =
(GT ∩ Pred) /
(GT ∪ Pred)

Angular localization error is

AE =
| θGT − θPred |

### Revision Performance

Segmentation quality before and after correction is compared using

- Dice Similarity Coefficient

- Hausdorff Distance

- Relative Area Error

Improvement is defined as

ΔDice =
Diceafter − Dicebefore

### Safety Performance

A critical objective is to avoid modifying normal segmentations.

False Revision Rate is defined as

FRR =
(Number of Normal Cases Revised) /
(Number of Normal Cases)

An ideal revision system should achieve

FRR ≈ 0

while improving segmentation quality in abnormal cases.

## Practical Considerations and Limitations

Removing segmentation leakage is generally easier than recovering missing tissue.

Detached leakage often forms a distinct connected component and can be removed reliably.

Attached leakage is more challenging but can usually be corrected using local contour refinement.

Internal missing regions may be recoverable if sufficient anatomical boundaries remain visible.

In contrast, disconnected missing regions are inherently difficult to reconstruct because the missing tissue may be completely absent from the predicted segmentation mask.

Consequently, disconnected missing errors may require manual correction or additional image-driven recovery algorithms.

Therefore, revision performance is expected to be highest for leakage-related errors and lower for severe missing-segmentation phenotypes.

Segmentation

↓

Classification

↓

Localization

↓

Confidence Estimation

↓

┌─────────────┬──────────────┐

│ High Conf.                                                                   │ Low Conf.   │

└─────────────┴──────────────┘

│                │

▼                ▼

Automatic       Manual Review

Correction

Disclaimer:

“Disconnected missing regions remain challenging because the missing tissue may be entirely absent from the predicted segmentation mask. In such cases, reliable reconstruction cannot be guaranteed using topology-based correction alone and manual revision may be required.”

16/6/2569:

nYSegments was used as a topological warning indicator rather than a direct leakage label. Each detected radial segment was subsequently evaluated according to its position relative to the expected muscle band derived from the smoothed inner and outer radial boundaries. Segments located outside the expected muscle band were considered leakage candidates, whereas split segments located within the expected muscle band were preserved as true muscle fragmentation or low-signal interruption.

17/6/2569

# Marker-Controlled Segmentation Revision Based on Radial Segment Analysis

## Conceptual Rationale

After radial quality assessment identifies abnormal segmentation patterns, the next step is not to globally re-segment the entire muscle mask. Instead, the predicted muscle ROI should be locally revised only in regions that are strongly supported by radial evidence.

The proposed correction strategy follows a marker-controlled segmentation concept. Radial analysis is used to generate removal markers, and the predicted segmentation mask itself is used as the spatial constraint. This prevents excessive geometric interpolation and ensures that the correction remains consistent with the original segmentation topology.

In this framework, the predicted muscle segmentation mask is denoted as:

Y = predicted muscle ROI

The revised segmentation is denoted as:

Yrev = revised muscle ROI

The major principle is:

- Detached leakage: remove the whole abnormal component identified by radial markers.

- Attached leakage: remove only the excessive portion within a local radial sector.

- Internal missing: fill only the missing region when anatomically supported.

- Normal segmentation: do nothing.

The most important safety objective is to avoid revising true normal segmentations.

## Why Marker-Controlled Revision Is Needed

A simple fan-shaped or polygon-based removal mask can create interpolation artefacts because radial rays diverge as they move away from the centroid. If only a few rays are selected, the polygon may cut across areas that do not actually belong to the abnormal segmentation.

Therefore, the correction should not rely only on polygon geometry. Instead, the remove region should be constrained by the existing predicted mask Y.

The correction process is therefore:

Radial segment detection
→ removal marker generation
→ component selection within Y
→ local removal
→ revised Y

This approach ensures that the algorithm removes only segmentation components that are supported by both radial evidence and mask topology.

## Algorithm Overview

### Step 1: Radial Sampling

From the centroid of the body or muscle reference region, radial rays are projected across the predicted segmentation mask Y.

For each ray, the algorithm detects all continuous muscle segments.

For each angle θ:

nYSegments(θ) = number of continuous Y segments along the ray

Each segment has:

StartR = radial start position
EndR = radial end position
Length = EndR − StartR + 1

## Step 2: Segment-Level Interpretation

For each ray, segment-level information is stored as cell arrays:

RQA.segStartR{k}
RQA.segEndR{k}
RQA.segLen{k}

where k is the ray index.

This allows the algorithm to analyze each detected segment separately rather than using only a single ray-level feature.

## Step 3: Identify Remove Candidates

A segment is considered a remove candidate if it is inconsistent with the expected anatomical muscle band.

Potential criteria include:

- Segment lies too close to the centroid.

- Segment lies outside the zone-wise expected muscle band.

- Segment is clearly separated from the true muscle component.

- Segment belongs to a ray with nYSegments ≥ 2 and is not compatible with expected muscle anatomy.

For T-level cases, where psoas muscles are absent, segments located abnormally close to the centroid can be interpreted as leakage with higher confidence.

## Step 4: Generate Removal Markers

Instead of directly removing a polygonal fan-shaped area, the algorithm first creates a removal seed mask.

The seed is generated only from the radial segments classified as abnormal.

Let:

RemoveSeed = binary marker mask

The pixels belonging to abnormal radial segments are assigned as:

RemoveSeed = 1

All other pixels remain:

RemoveSeed = 0

## Step 5: Marker-Controlled Component Removal

The predicted segmentation mask Y is used as the constraint mask.

Connected components in Y are identified. Any component that overlaps the RemoveSeed is considered an abnormal component and is removed.

This is particularly suitable for detached leakage.

The revised mask is:

Yrev = Y − RemoveComponent

or equivalently:

Yrev = Y & ~RemoveComponent

## Step 6: Partial Removal for Attached Leakage

Attached leakage is more difficult because the leakage and the true muscle are connected as a single component.

In this case, the correction cannot remove the entire connected component.

Instead, a local radial removal sector is used. The expected muscle band defines the boundary of what should be preserved.

For example:

If the segment extends from r = 70 to r = 125,
and the expected muscle start radius is r = 90,

then:

r = 70–89 is removed
r = 90–125 is preserved

This allows partial removal of attached leakage while preserving the true muscle portion.

## Step 7: Optional Local Refinement

After removal, local post-processing may be applied only within the affected region.

Possible operations include:

- small object removal

- local morphological smoothing

- hole filling

- active contour refinement

- manual revision if automatic correction is unreliable

Global re-segmentation is avoided.

# Draft MATLAB Code

## 1. Store Segment-Level Information

Add this before the radial loop:

segStartR = cell(size(theta));

segEndR   = cell(size(theta));

segLenR   = cell(size(theta));

Inside the radial loop, after segment filtering:

starts = starts(keep);

ends   = ends(keep);

segLen = segLen(keep);

segStartR{k} = rr(starts);

segEndR{k}   = rr(ends);

segLenR{k}   = segLen;

nYSegments(k) = numel(starts);

Add to RQA output:

RQA.segStartR = segStartR;

RQA.segEndR   = segEndR;

RQA.segLenR   = segLenR;

## 2. Create Remove Seed from Abnormal Segments

RemoveSeed = false(size(Y));

for k = 1:numel(RQA.segStartR)

s = RQA.segStartR{k};

e = RQA.segEndR{k};

if isempty(s)

continue

end

t = RQA.theta(k);

for j = 1:numel(s)

% Example decision rule

% This should be replaced by the final anatomy-aware rule

isRemoveCandidate = false;

if RQA.nYSegments(k) >= 2

% Example: remove segment if it is outside expected band

if s(j) < opts.RminKeep || e(j) > opts.RmaxKeep

isRemoveCandidate = true;

end

end

if isRemoveCandidate

rr_remove = s(j):e(j);

x = round(cx + rr_remove .* cos(t));

y = round(cy + rr_remove .* sin(t));

valid = x >= 1 & x <= size(Y,2) & ...

y >= 1 & y <= size(Y,1);

x = x(valid);

y = y(valid);

idx = sub2ind(size(Y), y, x);

RemoveSeed(idx) = true;

end

end

end

## 3. Expand Seed Slightly

RemoveSeed = imdilate(RemoveSeed, strel('disk', 1));

This helps ensure the marker touches the target component.

## 4. Component-Based Removal for Detached Leakage

CC = bwconncomp(Y);

RemoveComponent = false(size(Y));

for c = 1:CC.NumObjects

pix = CC.PixelIdxList{c};

if any(RemoveSeed(pix))

RemoveComponent(pix) = true;

end

end

Yrev = Y & ~RemoveComponent;

## 5. Safer Version: Remove Only Small or Suspicious Components

CC = bwconncomp(Y);

stats = regionprops(CC, 'Area');

RemoveComponent = false(size(Y));

for c = 1:CC.NumObjects

pix = CC.PixelIdxList{c};

areaC = stats(c).Area;

touchesSeed = any(RemoveSeed(pix));

if touchesSeed && areaC < opts.maxLeakArea

RemoveComponent(pix) = true;

end

end

Yrev = Y & ~RemoveComponent;

This prevents accidental removal of a large true muscle component.

## 6. Partial Removal for Attached Leakage

RemoveRegion = false(size(Y));

for k = 1:numel(RQA.segStartR)

s = RQA.segStartR{k};

e = RQA.segEndR{k};

if isempty(s)

continue

end

t = RQA.theta(k);

for j = 1:numel(s)

isAttachedLeak = false;

% Example rule:

% segment begins too close to centroid but extends into expected muscle

if s(j) < opts.RkeepStart && e(j) >= opts.RkeepStart

isAttachedLeak = true;

end

if isAttachedLeak

rr_remove = s(j):min(e(j), opts.RkeepStart - 1);

x = round(cx + rr_remove .* cos(t));

y = round(cy + rr_remove .* sin(t));

valid = x >= 1 & x <= size(Y,2) & ...

y >= 1 & y <= size(Y,1);

x = x(valid);

y = y(valid);

idx = sub2ind(size(Y), y, x);

RemoveRegion(idx) = true;

end

end

end

RemoveRegion = imdilate(RemoveRegion, strel('disk', 1));

Yrev = Y & ~RemoveRegion;

## 7. Optional Local Hole Filling

Yfilled = imfill(Yrev, 'holes');

FillMask = Yfilled & ~Yrev;

% Optional: restrict filling to local revision region only

FillMask = FillMask & opts.LocalRevisionMask;

Yrev = Yrev | FillMask;

## 8. Safety Rule for Normal Cases

If no reliable removal marker is found, the segmentation is not revised.

if nnz(RemoveSeed) == 0

Yrev = Y;

end

This is important because false correction of normal cases should be avoided.

# Proposed Terminology

## Marker-Controlled Revision

A correction strategy in which radial anomaly markers identify candidate abnormal regions, while the original predicted segmentation mask constrains the actual region to be removed.

## Polar Sector Removal Mask

A local radial mask used for partial removal of attached leakage.

## Expected Muscle Band

The expected radial range of true muscle tissue, estimated from reliable anatomical zones.

## Zone-Wise Expected Muscle Band

An extension of the expected muscle band in which separate reference start and end radii are estimated for each anatomical zone.

# Key Practical Notes

- Detached leakage is easier to correct than attached leakage because it often appears as a separate component.

- Attached leakage requires partial removal because leakage and true muscle are connected.

- Polygon-only removal may introduce interpolation artefacts.

- Component removal should be constrained by Y.

- Normal cases should not be revised.

- Disconnected missing regions are difficult to recover automatically and may require manual correction.

- Removing false-positive leakage is generally easier than filling false-negative missing tissue.

18/6/2569

T-level

→ Detached leakage dominant

→ common source: aorta / liver edge / diaphragm

→ attached leakage less common

L1–L4

→ Attached leakage dominant

→ common source: liver / bowel / spleen / kidney

→ detached leakage less common

→ psoas makes detached-gap rule dangerous

L5

→ Missing dominant

→ psoas missing / muscle track missing

→ correction should focus more on fill or manual review

T-level:

allow auto-remove detached

L1–L4 anterior:

allow T-like remove rule

L1–L4 posterior/lateral:

require psoas-aware check before remove

L5:

avoid auto-remove unless extremely confident

Gap is evidence at T-level.

Gap is ambiguity at L1–L4.

Gap is risky at L5.

The interpretation of radial gaps was level-dependent. At thoracic levels, a large radial gap between a near-centroid segment and the expected muscle band was considered anatomically implausible and suggestive of detached leakage. However, at lumbar levels, a similar radial pattern may correspond to physiologic separation between psoas and posterior musculature; therefore, gap-based removal was not applied without psoas-aware anatomical constraints.

Discussion

Issue: Clustering Tools

The proposed method was designed using anatomical and topological constraints rather than unsupervised clustering because most segmentation outputs were already acceptable, and the primary objective was to identify anatomically implausible regions while minimizing unnecessary corrections.